## Introduction
EPA Water Cybersecurity Assessment Tool (WCAT)
EPA Cybersecurity Checklist for Drinking Water and Wastewater Systems
What is the purpose of this checklist assessment?
This assessment tool uses the EPA Cybersecurity Checklist for Drinking Water and Wastewater Systems. The purpose of this checklist assessment is to provide a method to evaluate cybersecurity at a water or wastewater system (WWS). When a WWS uses operational technology (OT)[1], such as an industrial control system (ICS)[2], as part of its equipment or operation, then the adequacy of the cybersecurity of that OT for producing and distributing safe water should be evaluated. A commonly used OT at a WWS is a Supervisory Control and Data Acquisition (SCADA) system.
The checklist assessment questions and recommended actions to address the questions are extracted directly from the Cybersecurity and Infrastructure Agency (CISA) Cross-Sector Cybersecurity Performance Goals. In this checklist assessment, the Cybersecurity Performance Goals are written in a more simplified question format to facilitate their use in evaluating a WWS.
Link to Cybersecurity and Infrastructure Agency (CISA) Cross-Sector Cybersecurity Performance Goals below:
https://www.cisa.gov/cpg
Alternatives to the cybersecurity evaluation checklist include those from CISA[3], NIST[4], AWWA[5], ISO[6], and ISA/IEC[7].
How should this checklist assessment be used?
The checklist assessment questions are intended to identify gaps or potential vulnerabilities in current cybersecurity practices. WWSs are encouraged to use the resources and technical assistance described in EPA guidance (link below) to address these gaps and reduce the risk that a cyberattack may compromise WWS operations.
https://www.epa.gov/waterriskassessment/epa-cybersecurity-best-practices-water-sector
References
[1] | The term “operational technology” means hardware and software that detects or causes a change through the direct monitoring or control of physical devices, processes, and events in the enterprise. Internet of Things Cybersecurity Improvement Act of 2020, 15 U.S.C. § 271(3)(6) (Public Law 116-207).
[2] | An Industrial Control System is an information system used to control industrial processes such as manufacturing, product handling, production, and distribution. Industrial control systems include supervisory control and data acquisition systems, used to control geographically dispersed assets, as well as distributed control systems and smaller control systems using programmable logic controllers to control localized processes. Link to NIST Computer Security Resource Center below:
https://csrc.nist.gov/glossary/term/ics
[3] | CISA Cyber Resilience Review
https://www.cisa.gov/resources-tools/services/cyber-resilience-review-crr
[4] | NIST Cybersecurity Framework
https://www.nist.gov/cyberframework
[5] | AWWA, Cybersecurity Assessment Tool and Guidance
https://www.awwa.org/Resources-Tools/Resource-Topics/Risk-Resilience/Cybersecurity-Guidance
[6] | ISO, 27001 Information Security Management
https://www.iso.org/isoiec-27001-information-security.html
[7] | ISOA/IEC, 62443 series of standards
https://www.isa.org/standards-and-publications/isa-standards/isa-iec-62443-series-of-standards
Version History
Version 1.0 - 2/16/2023: Workbook created
Version 2.0 - 8/1/2023: Workbook edited to accommodate Water/Wastewater Systems
Version 3.0 - 2/1/2024: Workbook edited to accommodate updated EPA Cybersecurity Checklist. Included "Not Applicable" response option.
Version 3.1 - 7/15/2024: Workbook formatting updated, Cybersecurity Checlist Items updated

## How To Use
EPA Water Cybersecurity Assessment Tool (WCAT)
Please read the following instructions in their entirety prior to completing the assessment.
1) | Open the 'Assessment Workbook' tab. For security reasons, the information fields at the top of the page may be completed so as to avoid identifying the utility: Utility ID - create a unique identifier; Drinking Water and Wastewater System (WWS) staff - include initials for all staff participating in the assessment; Assessment Date - self explanatory; Assessor Name - identify a lead individual from an outside agency (for 3rd party assessments) or the utility (for self-assessments) who is filling out the questionnaire. Complete the questionnaire by selecting from the available dropdown options for each question ("Yes", "No", "In Progress", or "Not Applicable"). Be sure to document explanatory notes in the "Explanation of Response" column for each response.
Note: If the answer to an assessment question is unknown, please select "No" as the response. The assessment can be updated later once an appropriate response is known.
2) | You must manually refresh the data connections in the workbook after completing or modifying responses on the 'Assessment Workbook' sheet in order for those changes to be reflected in the 'Risk Mitigation Plan'. To do this, select "Data" from the ribbon at the top of the screen in Excel and click "Refresh All". Alternatively, you may press Alt+A+R. When necessary, the need to refresh data will be indicated in Cell G21 on the 'Risk Mitigation Plan' sheet.
3) | Now open the 'Assessment Report' tab and export/paste the Cybersecurity Assessment Report into Word. To do this, press Ctrl+A twice and then Ctrl+C. Open a blank Word document and press Ctrl+V to export/paste the report into the document. The Cybersecurity Assessment Report displays all checklist questions regardless of response. You may edit the report as needed. The report content is displayed in one Word table.
4) | Now open the 'Risk Mitigation Plan' tab and export/paste the Cybersecurity Risk Mitigation Plan to Word. To do this, press Ctrl+A twice and then Ctrl+C. Open to a blank Word document and press Ctrl+V to export/paste into the document. The Cybersecurity Risk Mitigation Plan will only display checklist items answered "No" or "In Progress" during the assessment. You may edit the plan as needed, as questions answered "yes" will create blank rows at the end of the plan. The plan content is displayed in one Word table.
If you have questions on how to use this tool, please contact EPA's Cybersecurity Technical Assistance Program for the Water Sector at the link below:
https://www.epa.gov/waterriskassessment/forms/cybersecurity-technical-assistance-water-utilities

## Assessment Workbook
EPA Cybersecurity Checklist for Drinking Water and Wastewater Systems |  | EPA Cybesecurity Checklist for Drinking Water and Wastewater Systems
Utility ID:
WWS Staff (Initials Only):
Assessment Date:
Assessor:
1. IDENTIFY
Topic | Topic Number | Checklist Number | Question (* indicates an EPA Priority Cybersecurity Practice) | Response | Recommendation | Explanation of Response | Factsheet Reference
Identify | 1 | 1.A. | Does the WWS maintain an updated inventory of all OT and IT network assets?* |  | Regularly review (no less than quarterly) and maintain a list of all OT and IT assets with an IP address. This includes third-party and legacy (i.e., older) equipment. |  | https://www.epa.gov/system/files/documents/2024-07/maintain-an-updated-inventory.pdf
|  | 1.B. | Does the WWS have a named role/position/title that is responsible for planning, resourcing, and executing cybersecurity activities within the WWS?* |  | Identify one role/position/title responsible for cybersecurity within the WWS. Whoever fills this role/position/title is then in charge of all WWS cybersecurity activities. |  | https://www.epa.gov/system/files/documents/2024-07/have-a-named-role.pdf
|  | 1.C. | Does the WWS have a named role/position/title that is responsible for planning, resourcing, and executing OT-specific cybersecurity activities? |  | Identify one role/position/title responsible for ensuring planning, resourcing, and execution of OT-specific cybersecurity activities. |  | https://www.epa.gov/system/files/documents/2024-07/have-a-named-role-ot.pdf
|  | 1.D. | Does the WWS provide regular opportunities to strengthen communication and coordination between OT and IT personnel, including vendors? |  | Facilitate meetings between OT and IT personnel to provide opportunities for all parties to better understand organizational security needs and to strengthen working relationships. |  | https://www.epa.gov/system/files/documents/2024-07/provide-regular-opportunities.pdf
|  | 1.E. | Does the WWS patch or otherwise mitigate known vulnerabilities within the recommended timeframe?* |  | Identify and patch vulnerabilities in a risk-informed manner (e.g., critical assets first) as quickly as possible. |  | https://www.epa.gov/system/files/documents/2024-07/patch-or-otherwise.pdf
|  | 1.F. | This control number is included here to be consistent with the CISA CPGs but is not applicable to most WWSs.
|  | 1.G/H. | Does the WWS require that all OT vendors and service providers notify the WWS of any security incidents or vulnerabilities in a risk-informed timeframe? |  | Require vendors and service providers to notify the WWS of potential security incidents and vulnerabilities within a stipulated timeframe described in procurement documents and contracts. |  | https://www.epa.gov/system/files/documents/2024-07/require-that-all.pdf
|  | 1.I. | Does the WWS include cybersecurity as an evaluation criterion for the procurement of OT and IT assets and services? |  | Include cybersecurity as an evaluation criterion when procuring assets and services. Where feasible, seek out systems that are secure by design and secure by default. |  | https://www.epa.gov/system/files/documents/2024-07/include-cybersecurity.pdf
2. PROTECT
Topic | Topic Number | Checklist Number | Question (* indicates an EPA Priority Cybersecurity Practice) | Response | Recommendation | Explanation of Response | Factsheet Reference
Protect | 2 | 2.A. | Does the WWS change default passwords?* |  | Change all default manufacturer or vendor passwords before equipment or software is put into service. |  | https://www.epa.gov/system/files/documents/2024-07/change-default-passwords.pdf
|  | 2.B. | Does the WWS require a minimum length for passwords?* |  | Implement a minimum length requirement for passwords through a policy and/or administrative controls set in the system. |  | https://www.epa.gov/system/files/documents/2024-07/require-a-minimum.pdf
|  | 2.C. | Does the WWS require unique and separate credentials for users to access OT and IT networks?* |  | Require a single user to have two different usernames and passwords; one account to access the IT network, and the other account to access the OT network to reduce the risk of an attacker being able to move between both networks using a single login. |  | https://www.epa.gov/system/files/documents/2024-07/require-unique.pdf
|  | 2.D. | Does the WWS immediately disable access to an account or network when access is no longer required due to retirement, change of role, termination, or other factors?* |  | Terminate access immediately to accounts or networks upon a change in an individual’s status making access unnecessary (i.e., retirement, change in position, etc.). |  | https://www.epa.gov/system/files/documents/2024-07/immediately-disable-access.pdf
|  | 2.E. | Does the WWS separate user and privileged (e.g., System Administrator) accounts?* |  | Restrict System Administrator privileges to separate user accounts for administrative actions only and evaluate administrative privileges on a recurring basis to ensure accurate information for the individuals who have these privileges. |  | https://www.epa.gov/system/files/documents/2024-07/separate-user.pdf
|  | 2.F. | Does the WWS segment OT and IT networks and deny connections to the OT network by default unless explicitly allowed (e.g., by IP address and port)? |  | Require connections between the OT and IT networks to pass through an intermediary, such as a firewall, bastion host, jump box, or demilitarized zone, which is monitored and logged. |  | https://www.epa.gov/system/files/documents/2024-07/segment-ot-and-it.pdf
|  | 2.G. | Does the WWS detect and block repeated unsuccessful login attempts? |  | Enable System Administrator notification after a specific number of consecutive, unsuccessful login attempts in a short amount of time. At that point, future login attempts by the suspicious account should be blocked for a specified time or until re-enabled by an Administrator. |  | https://www.epa.gov/system/files/documents/2024-07/detect-and-block.pdf
|  | 2.H. | Does the WWS require multi-factor authentication (MFA) wherever possible, but at a minimum to remotely access WWS Operational Technology (OT)/Information Technology (IT) networks?* |  | Deploy MFA as widely as possible for both operational technology (OT) and information technology (IT) networks. At a minimum, MFA should be used for remote access to the OT network. |  | https://www.epa.gov/system/files/documents/2024-07/require-multi-factor.pdf
|  | 2.I. | Does the WWS provide/conduct annual cybersecurity awareness training for all WWS personnel that covers basic cybersecurity concepts?* |  | Conduct cybersecurity awareness training annually, at a minimum, to help all employees understand the importance of cybersecurity and how to prevent and respond to cyberattacks. |  | https://www.epa.gov/system/files/documents/2024-07/provide-at-least.pdf
|  | 2.J. | Does the WWS offer OT-specific cybersecurity training on at least an annual basis to personnel who use OT as part of their regular duties? |  | Provide specialized OT-focused cybersecurity training to all personnel who use OT assets. |  | https://www.epa.gov/system/files/documents/2024-07/offer-ot-specific.pdf
|  | 2.K. | Does the WWS use effective encryption to maintain the confidentiality of data in transit? |  | When sending information and data, use Transport Layer Security (TLS) or Secure Socket Layer (SSL) encryption standards. |  | https://www.epa.gov/system/files/documents/2024-07/use-effective-encryption_0.pdf
|  | 2.L. | Does the WWS use encryption to maintain the confidentiality of stored sensitive data? |  | Do not store sensitive data, including credentials (i.e., usernames and passwords) in plain text files. |  | https://www.epa.gov/system/files/documents/2024-07/use-encryption.pdf
|  | 2.M. | Does the WWS use email security controls to reduce common email-based threats, such as spoofing, phishing, and interception? |  | Ensure that email security controls are enabled on all corporate email infrastructure. |  | https://www.epa.gov/system/files/documents/2024-07/use-email-security.pdf
|  | 2.N. | Does the WWS disable Microsoft Office macros, or similar embedded code, by default on all assets? |  | Disable embedded macros and similar executable code by default on all assets. |  | https://www.epa.gov/system/files/documents/2024-07/disable-microsoft-office.pdf
|  | 2.O. | Does the WWS maintain current documentation detailing the set-up and settings (i.e., configuration) of critical OT and IT assets?* |  | Maintain accurate documentation of the original and current configuration of OT and IT assets, including software and firmware version. |  | https://www.epa.gov/system/files/documents/2024-07/maintain-current-documentation.pdf
|  | 2.P. | Does the WWS maintain updated documentation describing network topology (i.e., connections between all network components) across WWS OT and IT networks? |  | Maintain complete and accurate documentation of all WWS OT and IT network topologies to facilitate incident response and recovery. |  | https://www.epa.gov/system/files/documents/2024-07/maintain-updated-documentation.pdf
|  | 2.Q. | Does the WWS require approval before new software is installed or deployed? |  | Only allow Administrators to install new software on a WWS-issued asset. |  | https://www.epa.gov/system/files/documents/2024-07/require-approval-before.pdf
|  | 2.R. | Does the WWS backup systems necessary for operations (e.g., network configurations, PLC logic, engineering drawings, personnel records) on a regular schedule, store backups separately from the source systems, and test backups on a regular basis?* |  | Regularly backup OT/IT systems so you can recover to a known and safe state in the event of a compromise. Test backup procedures and isolate backups from network connections. Implement the NIST 3-2-1 rule: 3) Keep three copies: one primary and two backups; 2) Keep the backups on two different media types; 1) Store one copy offsite. |  | https://www.epa.gov/system/files/documents/2024-07/backup-systems-necessary_0.pdf
|  | 2.S. | Does the WWS have a written cybersecurity incident response (IR) plan for critical threat scenarios (e.g., disabled or manipulated process control systems, the loss or theft of operational or financial data, exposure of sensitive information), which is regularly practiced and updated?* |  | Develop, practice, and update an IR plan for cybersecurity incidents that could impact WWS operations. Participate in discussion-based (e.g., TTX) and operations-based exercises (e.g., Drill) to improve responses to potential cyber incidents. |  | https://www.epa.gov/system/files/documents/2024-07/have-a-written.pdf
|  | 2.T. | Does the WWS collect security logs (e.g., system and network access, malware detection) to use in both incident detection and investigation? |  | Collect and store logs and/or network traffic data to aid in detecting cyberattacks and investigating suspicious activity. |  | https://www.epa.gov/system/files/documents/2024-07/collect-security-logs.pdf
|  | 2.U. | Does the WWS protect security logs from unauthorized access and tampering? |  | Store security logs in a central system or database that can only be accessed by authorized and authenticated users. |  | https://www.epa.gov/system/files/documents/2024-07/protect-security-logs.pdf
|  | 2.V. | Does the WWS prohibit the connection of unauthorized hardware (e.g., USB devices, removable media, laptops brought in by others) to OT and IT assets?* |  | When feasible, remove, disable, or otherwise secure physical ports (e.g., USB ports on a laptop) to prevent unauthorized assets from connecting. |  | https://www.epa.gov/system/files/documents/2024-07/prohibit-the-connection_0.pdf
|  | 2.W. | Does the WWS ensure that assets connected to the public Internet expose no unnecessary exploitable services (e.g., remote desktop protocol)?* |  | Eliminate unnecessary exposed ports and services on public-facing assets and regularly review. |  | https://www.epa.gov/system/files/documents/2024-07/ensure-that-assets.pdf
|  | 2.X. | Does the WWS eliminate connections between OT assets and the Internet?* |  | Eliminate OT asset connections to the public Internet unless explicitly required for operations. |  | https://www.epa.gov/system/files/documents/2024-07/eliminate-connections-between.pdf
3. DETECT
Topic | Topic Number | Checklist Number | Question | Response | Recommendation | Explanation of Response | Factsheet Reference
Detect | 3 | 3.A. | Does the WWS keep a list of threats and adversary tactics, techniques, and procedures (TTPs) for cyberattacks relevant to the WWS? |  | Receive CISA alerts, prioritize the Known Exploited Vulnerabilities (KEV) list, and maintain documentation of TTPs relevant to the WWS. |  | https://www.epa.gov/system/files/documents/2024-07/keep-a-list.pdf
4. RESPOND
Topic | Topic Number | Checklist Number | Question (* indicates an EPA Priority Cybersecurity Practice) | Response | Recommendation | Explanation of Response | Factsheet Reference
Respond | 4 | 4.A. | Does the WWS have a written procedure for reporting cybersecurity incidents, including how (e.g., phone call, Internet submission) and to whom (e.g., FBI or other law enforcement, CISA, state regulators, WaterISAC, cyber insurance provider)?* Under the Cyber Incident Reporting for Critical Infrastructure Act of 2022 (CIRCIA), CISA is required to issue regulations, through notice-and-comment rulemaking, requiring covered entities to report covered cyber incidents and ransom payments made as a result of a ransomware attack to CISA. CISA’s Notice of Proposed Rulemaking proposes applying these requirements to at least some entities in the Water and Wastewater Sector. This recommendation will be revised as necessary when the CIRCIA Final Rule is issued. |  | Document the procedure for reporting cybersecurity incidents to better aid law enforcement, receive assistance with response and recovery, and to promote water sector awareness of cybersecurity threats. |  | https://www.epa.gov/system/files/documents/2024-07/have-a-written-procedure.pdf
|  | 4.B. | This control number is included here to be consistent with the CISA CPGs but is not applicable to most WWSs.
|  | 4.C. | This control number is included here to be consistent with the CISA CPGs but is not applicable to most WWSs.
5. RECOVER
Topic | Topic Number | Checklist Number | Question | Response | Recommendation | Explanation of Response | Factsheet Reference
Recover | 5 | 5.A. | Does the WWS have the ability to safely and effectively recover from a cybersecurity incident? |  | Develop, maintain, and execute plans to recover and restore to service business- or mission-critical assets or systems that might be impacted by a cybersecurity incident. |  | https://www.epa.gov/system/files/documents/2024-07/have-the-ability.pdf

## _DataTable (hidden)
PivotTable Source | [12 empty] | Changes (overall)
Topic | Topic Number | Checklist Number | Question | Response | Recommendation | Yes | No | In Progress | Not Applicable | Index | W/WS Notes | Note Checker | to Action Items
Filter Functionality_Yes | 0 | 0.A | Filter Functionality_Yes | Yes | Filter Functionality_Yes | 1 | 0 | 0 | 0 | 1 | Filter Functionality_Yes |  | to Notes
Filter Functionality_No | 0 | 0.B | Filter Functionality_No | No | Filter Functionality_No | 0 | 1 | 0 | 0 | 2 | Filter Functionality_No
Filter Functionality_In Progress | 0 | 0.C | Filter Functionality_In Progress | In Progress | Filter Functionality_In Progress | 0 | 0 | 1 | 0 | 3 | Filter Functionality_In Progress
Filter Functionality_Not Applicable | 0 | 0.D | Filter Functionality_Not Applicable | Not Applicable | Filter Functionality_Not Applicable | 0 | 0 | 0 | 1 | 4 | Filter Functionality_Not Applicable
Identify | 1 | 1.A. | Does the WWS maintain an updated inventory of all OT and IT network assets?* | 0 | Regularly review (no less than quarterly) and maintain a list of all OT and IT assets with an IP address. This includes third-party and legacy (i.e., older) equipment. | 0 | 0 | 0 | 0 | 5
Identify | 1 | 1.B. | Does the WWS have a named role/position/title that is responsible for planning, resourcing, and executing cybersecurity activities within the WWS?* | 0 | Identify one role/position/title responsible for cybersecurity within the WWS. Whoever fills this role/position/title is then in charge of all WWS cybersecurity activities. | 0 | 0 | 0 | 0 | 6
Identify | 1 | 1.C. | Does the WWS have a named role/position/title that is responsible for planning, resourcing, and executing OT-specific cybersecurity activities? | 0 | Identify one role/position/title responsible for ensuring planning, resourcing, and execution of OT-specific cybersecurity activities. | 0 | 0 | 0 | 0 | 7
Identify | 1 | 1.D. | Does the WWS provide regular opportunities to strengthen communication and coordination between OT and IT personnel, including vendors? | 0 | Facilitate meetings between OT and IT personnel to provide opportunities for all parties to better understand organizational security needs and to strengthen working relationships. | 0 | 0 | 0 | 0 | 8
Identify | 1 | 1.E. | Does the WWS patch or otherwise mitigate known vulnerabilities within the recommended timeframe?* | 0 | Identify and patch vulnerabilities in a risk-informed manner (e.g., critical assets first) as quickly as possible. | 0 | 0 | 0 | 0 | 9
Identify | 1 | 1.G/H. | Does the WWS require that all OT vendors and service providers notify the WWS of any security incidents or vulnerabilities in a risk-informed timeframe? | 0 | Require vendors and service providers to notify the WWS of potential security incidents and vulnerabilities within a stipulated timeframe described in procurement documents and contracts. | 0 | 0 | 0 | 0 | 10
Identify | 1 | 1.I. | Does the WWS include cybersecurity as an evaluation criterion for the procurement of OT and IT assets and services? | 0 | Include cybersecurity as an evaluation criterion when procuring assets and services. Where feasible, seek out systems that are secure by design and secure by default. | 0 | 0 | 0 | 0 | 11
Protect | 2 | 2.A. | Does the WWS change default passwords?* | 0 | Change all default manufacturer or vendor passwords before equipment or software is put into service. | 0 | 0 | 0 | 0 | 12
Protect | 2 | 2.B. | Does the WWS require a minimum length for passwords?* | 0 | Implement a minimum length requirement for passwords through a policy and/or administrative controls set in the system. | 0 | 0 | 0 | 0 | 13
Protect | 2 | 2.C. | Does the WWS require unique and separate credentials for users to access OT and IT networks?* | 0 | Require a single user to have two different usernames and passwords; one account to access the IT network, and the other account to access the OT network to reduce the risk of an attacker being able to move between both networks using a single login. | 0 | 0 | 0 | 0 | 14
Protect | 2 | 2.D. | Does the WWS immediately disable access to an account or network when access is no longer required due to retirement, change of role, termination, or other factors?* | 0 | Terminate access immediately to accounts or networks upon a change in an individual’s status making access unnecessary (i.e., retirement, change in position, etc.). | 0 | 0 | 0 | 0 | 15
Protect | 2 | 2.E. | Does the WWS separate user and privileged (e.g., System Administrator) accounts?* | 0 | Restrict System Administrator privileges to separate user accounts for administrative actions only and evaluate administrative privileges on a recurring basis to ensure accurate information for the individuals who have these privileges. | 0 | 0 | 0 | 0 | 16
Protect | 2 | 2.F. | Does the WWS segment OT and IT networks and deny connections to the OT network by default unless explicitly allowed (e.g., by IP address and port)? | 0 | Require connections between the OT and IT networks to pass through an intermediary, such as a firewall, bastion host, jump box, or demilitarized zone, which is monitored and logged. | 0 | 0 | 0 | 0 | 17
Protect | 2 | 2.G. | Does the WWS detect and block repeated unsuccessful login attempts? | 0 | Enable System Administrator notification after a specific number of consecutive, unsuccessful login attempts in a short amount of time. At that point, future login attempts by the suspicious account should be blocked for a specified time or until re-enabled by an Administrator. | 0 | 0 | 0 | 0 | 18
Protect | 2 | 2.H. | Does the WWS require multi-factor authentication (MFA) wherever possible, but at a minimum to remotely access WWS Operational Technology (OT)/Information Technology (IT) networks?* | 0 | Deploy MFA as widely as possible for both operational technology (OT) and information technology (IT) networks. At a minimum, MFA should be used for remote access to the OT network. | 0 | 0 | 0 | 0 | 19
Protect | 2 | 2.I. | Does the WWS provide/conduct annual cybersecurity awareness training for all WWS personnel that covers basic cybersecurity concepts?* | 0 | Conduct cybersecurity awareness training annually, at a minimum, to help all employees understand the importance of cybersecurity and how to prevent and respond to cyberattacks. | 0 | 0 | 0 | 0 | 20
Protect | 2 | 2.J. | Does the WWS offer OT-specific cybersecurity training on at least an annual basis to personnel who use OT as part of their regular duties? | 0 | Provide specialized OT-focused cybersecurity training to all personnel who use OT assets. | 0 | 0 | 0 | 0 | 21
Protect | 2 | 2.K. | Does the WWS use effective encryption to maintain the confidentiality of data in transit? | 0 | When sending information and data, use Transport Layer Security (TLS) or Secure Socket Layer (SSL) encryption standards. | 0 | 0 | 0 | 0 | 22
Protect | 2 | 2.L. | Does the WWS use encryption to maintain the confidentiality of stored sensitive data? | 0 | Do not store sensitive data, including credentials (i.e., usernames and passwords) in plain text files. | 0 | 0 | 0 | 0 | 23
Protect | 2 | 2.M. | Does the WWS use email security controls to reduce common email-based threats, such as spoofing, phishing, and interception? | 0 | Ensure that email security controls are enabled on all corporate email infrastructure. | 0 | 0 | 0 | 0 | 24
Protect | 2 | 2.N. | Does the WWS disable Microsoft Office macros, or similar embedded code, by default on all assets? | 0 | Disable embedded macros and similar executable code by default on all assets. | 0 | 0 | 0 | 0 | 25
Protect | 2 | 2.O. | Does the WWS maintain current documentation detailing the set-up and settings (i.e., configuration) of critical OT and IT assets?* | 0 | Maintain accurate documentation of the original and current configuration of OT and IT assets, including software and firmware version. | 0 | 0 | 0 | 0 | 26
Protect | 2 | 2.P. | Does the WWS maintain updated documentation describing network topology (i.e., connections between all network components) across WWS OT and IT networks? | 0 | Maintain complete and accurate documentation of all WWS OT and IT network topologies to facilitate incident response and recovery. | 0 | 0 | 0 | 0 | 27
Protect | 2 | 2.Q. | Does the WWS require approval before new software is installed or deployed? | 0 | Only allow Administrators to install new software on a WWS-issued asset. | 0 | 0 | 0 | 0 | 28
Protect | 2 | 2.R. | Does the WWS backup systems necessary for operations (e.g., network configurations, PLC logic, engineering drawings, personnel records) on a regular schedule, store backups separately from the source systems, and test backups on a regular basis?* | 0 | Regularly backup OT/IT systems so you can recover to a known and safe state in the event of a compromise. Test backup procedures and isolate backups from network connections. Implement the NIST 3-2-1 rule: 3) Keep three copies: one primary and two backups; 2) Keep the backups on two different media types; 1) Store one copy offsite. | 0 | 0 | 0 | 0 | 29
Protect | 2 | 2.S. | Does the WWS have a written cybersecurity incident response (IR) plan for critical threat scenarios (e.g., disabled or manipulated process control systems, the loss or theft of operational or financial data, exposure of sensitive information), which is regularly practiced and updated?* | 0 | Develop, practice, and update an IR plan for cybersecurity incidents that could impact WWS operations. Participate in discussion-based (e.g., TTX) and operations-based exercises (e.g., Drill) to improve responses to potential cyber incidents. | 0 | 0 | 0 | 0 | 30
Protect | 2 | 2.T. | Does the WWS collect security logs (e.g., system and network access, malware detection) to use in both incident detection and investigation? | 0 | Collect and store logs and/or network traffic data to aid in detecting cyberattacks and investigating suspicious activity. | 0 | 0 | 0 | 0 | 31
Protect | 2 | 2.U. | Does the WWS protect security logs from unauthorized access and tampering? | 0 | Store security logs in a central system or database that can only be accessed by authorized and authenticated users. | 0 | 0 | 0 | 0 | 32
Protect | 2 | 2.V. | Does the WWS prohibit the connection of unauthorized hardware (e.g., USB devices, removable media, laptops brought in by others) to OT and IT assets?* | 0 | When feasible, remove, disable, or otherwise secure physical ports (e.g., USB ports on a laptop) to prevent unauthorized assets from connecting. | 0 | 0 | 0 | 0 | 33
Protect | 2 | 2.W. | Does the WWS ensure that assets connected to the public Internet expose no unnecessary exploitable services (e.g., remote desktop protocol)?* | 0 | Eliminate unnecessary exposed ports and services on public-facing assets and regularly review. | 0 | 0 | 0 | 0 | 34
Protect | 2 | 2.X. | Does the WWS eliminate connections between OT assets and the Internet?* | 0 | Eliminate OT asset connections to the public Internet unless explicitly required for operations. | 0 | 0 | 0 | 0 | 35
Detect | 3 | 3.A. | Does the WWS keep a list of threats and adversary tactics, techniques, and procedures (TTPs) for cyberattacks relevant to the WWS? | 0 | Receive CISA alerts, prioritize the Known Exploited Vulnerabilities (KEV) list, and maintain documentation of TTPs relevant to the WWS. | 0 | 0 | 0 | 0 | 36
Respond | 4 | 4.A. | Does the WWS have a written procedure for reporting cybersecurity incidents, including how (e.g., phone call, Internet submission) and to whom (e.g., FBI or other law enforcement, CISA, state regulators, WaterISAC, cyber insurance provider)?* Under the Cyber Incident Reporting for Critical Infrastructure Act of 2022 (CIRCIA), CISA is required to issue regulations, through notice-and-comment rulemaking, requiring covered entities to report covered cyber incidents and ransom payments made as a result of a ransomware attack to CISA. CISA’s Notice of Proposed Rulemaking proposes applying these requirements to at least some entities in the Water and Wastewater Sector. This recommendation will be revised as necessary when the CIRCIA Final Rule is issued. | 0 | Document the procedure for reporting cybersecurity incidents to better aid law enforcement, receive assistance with response and recovery, and to promote water sector awareness of cybersecurity threats. | 0 | 0 | 0 | 0 | 37
Recover | 5 | 5.A. | Does the WWS have the ability to safely and effectively recover from a cybersecurity incident? | 0 | Develop, maintain, and execute plans to recover and restore to service business- or mission-critical assets or systems that might be impacted by a cybersecurity incident. | 0 | 0 | 0 | 0 | 38

## _Guidance Checklist text (hidden)
Copy and paste text from the checklist into the cells below
String functions bring the proper string text into the assessment workbook
The questions are linked from the Assessment Workbook into the Assessment Report
Checklist Number |  |  | Use this formula in Assessment Workbook Column E | Use this formula in Assessment Workbook Column G
1.A. | Maintain an updated inventory of all OT and IT network assets?* | Recommendation: Regularly review (no less than quarterly) and maintain a list of all OT and IT assets with an IP address. This includes third-party and legacy (i.e., older) equipment. | =CONCATENATE("Does the WWS " & LOWER(LEFT('_Guidance Checklist text'!B11,1)) & RIGHT('_Guidance Checklist text'!B11,LEN('_Guidance Checklist text'!B11)-1)) | =RIGHT('_Guidance Checklist text'!C11,LEN('_Guidance Checklist text'!C11)-FIND(": ",'_Guidance Checklist text'!C11)-1)
1.B. | Have a named role/position/title that is responsible for planning, resourcing, and executing cybersecurity activities within the WWS?* | Recommendation: Identify one role/position/title responsible for cybersecurity within the WWS. Whoever fills this role/position/title is then in charge of all WWS cybersecurity activities.
1.C. | Have a named role/position/title that is responsible for planning, resourcing, and executing OT-specific cybersecurity activities? | Recommendation: Identify one role/position/title responsible for ensuring planning, resourcing, and execution of OT-specific cybersecurity activities.
1.D. | Provide regular opportunities to strengthen communication and coordination between OT and IT personnel, including vendors? | Recommendation: Facilitate meetings between OT and IT personnel to provide opportunities for all parties to better understand organizational security needs and to strengthen working relationships.
1.E. | Patch or otherwise mitigate known vulnerabilities within the recommended timeframe?* | Recommendation: Identify and patch vulnerabilities in a risk-informed manner (e.g., critical assets first) as quickly as possible.
1.F. | This control number is included here to be consistent with the CISA CPG but is not applicable to most WWSs.
1.G/H. | Require that all OT vendors and service providers notify the WWS of any security incidents or vulnerabilities in a risk-informed timeframe? | Recommendation: Require vendors and service providers to notify the WWS of potential security incidents and vulnerabilities within a stipulated timeframe described in procurement documents and contracts.
1.I. | Include cybersecurity as an evaluation criterion for the procurement of OT and IT assets and services? | Recommendation: Include cybersecurity as an evaluation criterion when procuring assets and services. Where feasible, seek out systems that are secure by design and secure by default.
Checklist Number
2.A. | Change default passwords?* | Recommendation: Change all default manufacturer or vendor passwords before equipment or software is put into service.
2.B. | Require a minimum length for passwords?* | Recommendation: Implement a minimum length requirement for passwords through a policy and/or administrative controls set in the system.
2.C. | Require unique and separate credentials for users to access OT and IT networks?* | Recommendation: Require a single user to have two different usernames and passwords; one account to access the IT network, and the other account to access the OT network to reduce the risk of an attacker being able to move between both networks using a single login.
2.D. | Immediately disable access to an account or network when access is no longer required due to retirement, change of role, termination, or other factors?* | Recommendation: Terminate access immediately to accounts or networks upon a change in an individual’s status making access unnecessary (i.e., retirement, change in position, etc.).
2.E. | Separate user and privileged (e.g., System Administrator) accounts?* | Recommendation: Restrict System Administrator privileges to separate user accounts for administrative actions only and evaluate administrative privileges on a recurring basis to ensure accurate information for the individuals who have these privileges.
2.F. | Segment OT and IT networks and deny connections to the OT network by default unless explicitly allowed (e.g., by IP address and port)? | Recommendation: Require connections between the OT and IT networks to pass through an intermediary, such as a firewall, bastion host, jump box, or demilitarized zone, which is monitored and logged.
2.G. | Detect and block repeated unsuccessful login attempts? | Recommendation: Enable System Administrator notification after a specific number of consecutive, unsuccessful login attempts in a short amount of time. At that point, future login attempts by the suspicious account should be blocked for a specified time or until re-enabled by an Administrator.
2.H. | Require multi-factor authentication (MFA) wherever possible, but at a minimum to remotely access WWS Operational Technology (OT)/Information Technology (IT) networks?* | Recommendation: Deploy MFA as widely as possible for both operational technology (OT) and information technology (IT) networks. At a minimum, MFA should be used for remote access to the OT network.
2.I. | Provide/conduct annual cybersecurity awareness training for all WWS personnel that covers basic cybersecurity concepts?* | Recommendation: Conduct cybersecurity awareness training annually, at a minimum, to help all employees understand the importance of cybersecurity and how to prevent and respond to cyberattacks.
2.J. | Offer OT-specific cybersecurity training on at least an annual basis to personnel who use OT as part of their regular duties? | Recommendation: Provide specialized OT-focused cybersecurity training to all personnel who use OT assets.
2.K. | Use effective encryption to maintain the confidentiality of data in transit? | Recommendation: When sending information and data, use Transport Layer Security (TLS) or Secure Socket Layer (SSL) encryption standards.
2.L. | Use encryption to maintain the confidentiality of stored sensitive data? | Recommendation: Do not store sensitive data, including credentials (i.e., usernames and passwords) in plain text files.
2.M. | Use email security controls to reduce common email-based threats, such as spoofing, phishing, and interception? | Recommendation: Ensure that email security controls are enabled on all corporate email infrastructure.
2.N. | Disable Microsoft Office macros, or similar embedded code, by default on all assets? | Recommendation: Disable embedded macros and similar executable code by default on all assets.
2.O. | Maintain current documentation detailing the set-up and settings (i.e., configuration) of critical OT and IT assets?* | Recommendation: Maintain accurate documentation of the original and current configuration of OT and IT assets, including software and firmware version.
2.P. | Maintain updated documentation describing network topology (i.e., connections between all network components) across WWS OT and IT networks? | Recommendation: Maintain complete and accurate documentation of all WWS OT and IT network topologies to facilitate incident response and recovery.
2.Q. | Require approval before new software is installed or deployed? | Recommendation: Only allow Administrators to install new software on a WWS-issued asset.
2.R. | Backup systems necessary for operations (e.g., network configurations, PLC logic, engineering drawings, personnel records) on a regular schedule, store backups separately from the source systems, and test backups on a regular basis?* | Recommendation: Regularly backup OT/IT systems so you can recover to a known and safe state in the event of a compromise. Test backup procedures and isolate backups from network connections. Implement the NIST 3-2-1 rule: 3) Keep three copies: one primary and two backups; 2) Keep the backups on two different media types; 1) Store one copy offsite. | Make sure the 3-2-1 comes in properly
2.S. | Have a written cybersecurity incident response (IR) plan for critical threat scenarios (e.g., disabled or manipulated process control systems, the loss or theft of operational or financial data, exposure of sensitive information), which is regularly practiced and updated?* | Recommendation: Develop, practice, and update an IR plan for cybersecurity incidents that could impact WWS operations. Participate in discussion-based (e.g., TTX) and operations-based exercises (e.g., Drill) to improve responses to potential cyber incidents.
2.T. | Collect security logs (e.g., system and network access, malware detection) to use in both incident detection and investigation? | Recommendation: Collect and store logs and/or network traffic data to aid in detecting cyberattacks and investigating suspicious activity.
2.U. | Protect security logs from unauthorized access and tampering? | Recommendation: Store security logs in a central system or database that can only be accessed by authorized and authenticated users.
2.V. | Prohibit the connection of unauthorized hardware (e.g., USB devices, removable media, laptops brought in by others) to OT and IT assets?* | Recommendation: When feasible, remove, disable, or otherwise secure physical ports (e.g., USB ports on a laptop) to prevent unauthorized assets from connecting.
2.W. | Ensure that assets connected to the public Internet expose no unnecessary exploitable services (e.g., remote desktop protocol)?* | Recommendation: Eliminate unnecessary exposed ports and services on public-facing assets and regularly review.
2.X. | Eliminate connections between OT assets and the Internet?* | Recommendation: Eliminate OT asset connections to the public Internet unless explicitly required for operations.
Checklist Number
3.A. | Keep a list of threats and adversary tactics, techniques, and procedures (TTPs) for cyberattacks relevant to the WWS? | Recommendation: Receive CISA alerts, prioritize the Known Exploited Vulnerabilities (KEV) list, and maintain documentation of TTPs relevant to the WWS.
Checklist Number
4.A. | Have a written procedure for reporting cybersecurity incidents, including how (e.g., phone call, Internet submission) and to whom (e.g., FBI or other law enforcement, CISA, state regulators, WaterISAC, cyber insurance provider)?* Under the Cyber Incident Reporting for Critical Infrastructure Act of 2022 (CIRCIA), CISA is required to issue regulations, through notice-and-comment rulemaking, requiring covered entities to report covered cyber incidents and ransom payments made as a result of a ransomware attack to CISA. CISA’s Notice of Proposed Rulemaking proposes applying these requirements to at least some entities in the Water and Wastewater Sector. This recommendation will be revised as necessary when the CIRCIA Final Rule is issued. | Recommendation: Document the procedure for reporting cybersecurity incidents to better aid law enforcement, receive assistance with response and recovery, and to promote water sector awareness of cybersecurity threats. | This item has the asterisk!!
4.B.
4.C.
Checklist Number
5.A. | Have the ability to safely and effectively recover from a cybersecurity incident? | Recommendation: Develop, maintain, and execute plans to recover and restore to service business- or mission-critical assets or systems that might be impacted by a cybersecurity incident.

## Assessment Report
Cybersecurity Assessment Report
| Utility ID: | [WWS Name]
| Assessment Date: | [Assessment Date]
| Print Date: | 2024-07-16
Contents
Identify Protect Detect Respond Recover
Purpose
This Cybersecurity Assessment Report provides a summary of results for [WWS Name] from the completed assessment using the EPA Cybersecurity Checklist (the Checklist). The table below includes all questions, responses, and explanation of responses from the Checklist including 'Yes', 'No', and 'In Progress' responses. Drinking Water and Wastewater System (WWS) representatives can use this Assessment Report as a record of the assessment and their responses. Questions marked with an “*” indicate EPA’s priority cybersecurity practices for water and wastewater systems.
Identify
Checklist Number | Question | Response | Explanation of Response
1.A. | Does the WWS maintain an updated inventory of all OT and IT network assets?*
1.B. | Does the WWS have a named role/position/title that is responsible for planning, resourcing, and executing cybersecurity activities within the WWS?*
1.C. | Does the WWS have a named role/position/title that is responsible for planning, resourcing, and executing OT-specific cybersecurity activities?
1.D. | Does the WWS provide regular opportunities to strengthen communication and coordination between OT and IT personnel, including vendors?
1.E. | Does the WWS patch or otherwise mitigate known vulnerabilities within the recommended timeframe?*
1.G/H. | Does the WWS require that all OT vendors and service providers notify the WWS of any security incidents or vulnerabilities in a risk-informed timeframe?
1.I. | Does the WWS include cybersecurity as an evaluation criterion for the procurement of OT and IT assets and services?
Protect
Checklist Number | Question | Response | Explanation of Response
2.A. | Does the WWS change default passwords?*
2.B. | Does the WWS require a minimum length for passwords?*
2.C. | Does the WWS require unique and separate credentials for users to access OT and IT networks?*
2.D. | Does the WWS immediately disable access to an account or network when access is no longer required due to retirement, change of role, termination, or other factors?*
2.E. | Does the WWS separate user and privileged (e.g., System Administrator) accounts?*
2.F. | Does the WWS segment OT and IT networks and deny connections to the OT network by default unless explicitly allowed (e.g., by IP address and port)?
2.G. | Does the WWS detect and block repeated unsuccessful login attempts?
2.H. | Does the WWS require multi-factor authentication (MFA) wherever possible, but at a minimum to remotely access WWS Operational Technology (OT)/Information Technology (IT) networks?*
2.I. | Does the WWS provide/conduct annual cybersecurity awareness training for all WWS personnel that covers basic cybersecurity concepts?*
2.J. | Does the WWS offer OT-specific cybersecurity training on at least an annual basis to personnel who use OT as part of their regular duties?
2.K. | Does the WWS use effective encryption to maintain the confidentiality of data in transit?
2.L. | Does the WWS use encryption to maintain the confidentiality of stored sensitive data?
2.M. | Does the WWS use email security controls to reduce common email-based threats, such as spoofing, phishing, and interception?
2.N. | Does the WWS disable Microsoft Office macros, or similar embedded code, by default on all assets?
2.O. | Does the WWS maintain current documentation detailing the set-up and settings (i.e., configuration) of critical OT and IT assets?*
2.P. | Does the WWS maintain updated documentation describing network topology (i.e., connections between all network components) across WWS OT and IT networks?
2.Q. | Does the WWS require approval before new software is installed or deployed?
2.R. | Does the WWS backup systems necessary for operations (e.g., network configurations, PLC logic, engineering drawings, personnel records) on a regular schedule, store backups separately from the source systems, and test backups on a regular basis?*
2.S. | Does the WWS have a written cybersecurity incident response (IR) plan for critical threat scenarios (e.g., disabled or manipulated process control systems, the loss or theft of operational or financial data, exposure of sensitive information), which is regularly practiced and updated?*
2.T. | Does the WWS collect security logs (e.g., system and network access, malware detection) to use in both incident detection and investigation?
2.U. | Does the WWS protect security logs from unauthorized access and tampering?
2.V. | Does the WWS prohibit the connection of unauthorized hardware (e.g., USB devices, removable media, laptops brought in by others) to OT and IT assets?*
2.W. | Does the WWS ensure that assets connected to the public Internet expose no unnecessary exploitable services (e.g., remote desktop protocol)?*
2.X. | Does the WWS eliminate connections between OT assets and the Internet?*
Detect
Checklist Number | Question | Response | Explanation of Response
3.A. | Does the WWS keep a list of threats and adversary tactics, techniques, and procedures (TTPs) for cyberattacks relevant to the WWS?
Respond
Checklist Number | Question | Response | Explanation of Response
4.A. | Does the WWS have a written procedure for reporting cybersecurity incidents, including how (e.g., phone call, Internet submission) and to whom (e.g., FBI or other law enforcement, CISA, state regulators, WaterISAC, cyber insurance provider)?* Under the Cyber Incident Reporting for Critical Infrastructure Act of 2022 (CIRCIA), CISA is required to issue regulations, through notice-and-comment rulemaking, requiring covered entities to report covered cyber incidents and ransom payments made as a result of a ransomware attack to CISA. CISA’s Notice of Proposed Rulemaking proposes applying these requirements to at least some entities in the Water and Wastewater Sector. This recommendation will be revised as necessary when the CIRCIA Final Rule is issued.
Recover
Checklist Number | Question | Response | Explanation of Response
5.A. | Does the WWS have the ability to safely and effectively recover from a cybersecurity incident?

## Risk Mitigation Plan
Cybersecurity Risk Mitigation Plan
|  |  | Utility ID: | Utility ID:
|  |  | Assessment Date: | Assessment Date:
|  |  | Print Date: | 2024-07-16
Plan Preparation/Last Modified Date:
Contents
Identify Protect Detect Respond Recover
Purpose
This Cybersecurity Risk Mitigation Plan documents actions Utility ID: is taking or intends to take to address cybersecurity risks. The actions in this plan are responsive to the cybersecurity risk assessment conducted using the EPA Cybersecurity Checklist (the Checklist). The table below includes all questions from the Checklist where Utility ID: representatives responded either 'No' or 'In Progress' during the assessment.
Cybersecurity Risk Mitigation Plan Actions
For each question in this table, Drinking Water and Wastewater System (WWS) representatives should describe the “Current Status,” “Target Completion Date,” “WWS Personnel Responsible,” “Involved Departments and/or Agencies”, and “WWS Notes”. Notice that the “WWS Notes” column has been automatically filled out with the information gathered during the initial assessment. In the “Current Status” cell, WWS representatives can describe progress, such as listing “Not Started,” “In Progress,” or “Completed.” The WWS can provide more detail on the current status (e.g., any explanatory notes, resources) by updating the “WWS Notes” field as appropriate. This Plan is intended to be a living document that the WWS regularly updates to reflect progress with implementing the risk mitigation actions. For more information on how to implement the planned risk mitigation actions, review the factsheet that corresponds to each Checklist question in the Guidance document at the link below:
https://www.epa.gov/system/files/documents/2023-03/230228_Cyber%20SS%20Guidance_508c.pdf
Questions marked with an “*” indicate EPA’s priority cybersecurity practices for water and wastewater systems.
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:
Question:
Planned Risk Mitigation Action:
Current Status:
Target Completion Date:
WWS Personnel Responsible:
Involved Departments and/or Agencies:
WWS Notes:

## _ChecklistNumbers (hidden)
Response | (Multiple Items)
Row Labels | Sum of Index
0.B | 2
0.C | 3

## _Question (hidden)
Response | (Multiple Items)
Row Labels | Sum of Index
Filter Functionality_No | 2
Filter Functionality_In Progress | 3

## _Recommendation (hidden)
Response | (Multiple Items)
Row Labels | Sum of Index
Filter Functionality_No | 2
Filter Functionality_In Progress | 3

## _WWSNotes (hidden)
Response | (Multiple Items)
Row Labels | Sum of Index
Filter Functionality_No | 2
Filter Functionality_In Progress | 3